CHM 212

Experiment 5 – Determination of the Ka of KHP - The Gran Plot

In this experiment you will analyze an acid sample (potassium hydrogen phthalate) to determine its acid dissociation constant (Ka).  This exercise will be performed by titrating the acid with a standardized sodium hydroxide (NaOH) solution to a phenolphthalein endpoint. You will also employ the pH meter as you did in experiment 2 during the titration.  It is imperative that you follow instructions very carefully and titrate very carefully.  The pertinent reaction is as follows:

HP-				             P2-

You will use your titration curve as well as the 1st and 2nd derivative plots of your titration data to assist with the determination of the equivalence point for the titration.  The first and second derivative plots are prepared as you did in experiment 2.  Recall, the first derivative is a plot of average volume vs. the slope (pH/V).  The second derivative is a plot of the average volume (average the average volumes from the first derivative data) vs. slope (i.e. (pH/V).  The equivalence point from the first derivative occurs at the point of maximum slope, i.e. the highest point.  The equivalence point determined from the second derivative occurs at the point of zero slope, i.e. the point at which the graph crosses zero (d2y/dx2 = 0)

From your estimates of the equivalence volume (Ve) you are to prepare your Gran plot using the data collected between 0.9Ve and Ve.  It is extremely important that you collect sufficient data points in the region of the equivalence volume.  The Gran plot is prepared by plotting a graph of Vb10-pH vs. Vb, where Vb is the volume of base added in the appropriate range of 0.9 Ve to Ve.  An example of a Gran plot is shown below.

Additionally, you will employ activity correction in your calculation of Ka in this experiment.  You will do this by calculating the ionic strength () of the solution and using this to determine the activity coefficient () of HP- and P2- (see the reaction above).

Procedure:

- Dry about 1.6 grams of the acid (potassium hydrogen phthalate – KHP) at 1050C for 1 hour and cool it in a dessicator. 20 minutes should be sufficient time for cooling.

- Accurately weigh (i.e. using the analytical balance) out ~ 1.5 grams of the acid and dissolve it in water in a 250 mL volumetric flask. Dilute to the mark, i.e. until the bottom of the meniscus is on the top of the line and mix the solution very well.

- Calibrate your pH meter using the buffers provided as you did in experiment 2, following the instructions provided with the pH meter. If you are still unsure about the operation of the pH meter, get help from your TA.  After calibration, rinse the electrode very well with distilled water and blot dry with tissue or kimwipes before placing the electrode into your solution.

- Pipet exactly 100 mL of the acid solution into a 250 mL beaker using the volumetric pipet. Add a stir bar and position the setup in a way that the stir bar does not strike the pH electrode.  Make sure that the pH meter is properly immersed in the solution.  Allow the electrode to equilibrate approximately 1 minute with stirring and measure and record the initial pH of the solution.

- Add 1 drop of phenolphthalein indicator and titrate the solution with standard ~ 0.1 M NaOH.  It is VERY IMPORTANT THAT YOU DO NOT USE YOUR NaOH SOLUTION FROM EXPERIMENT 1.  NaOH solution has been prepared and standardized for you.  Be sure to record the exact molarity and the standard deviation for this solution as you will need to know these quantities later.

- Add base in 1.5 mL increments recording the volume and the pH 30 s after each addition until you are within approximately 4 mL of the theoretical equivalence point.  You can determine the theoretical equivalence point since you know the mass of KHP that you dissolved in the 250 mL of water.  You can calculate molarity of your KHP solution by dividing the mass of KHP by its molar mass to determine the number of moles of KHP.  The molarity of the KHP solution can then be found by dividing the number of moles by the volume in L.  Knowing the molarity of the acid and the base and bearing in mind that you are only using 100 mL of the base solution, you should now be able to estimate the equivalence volume.

- When you are within approximately 4 mL of the equivalence volume, add the base in 0.4 mL increments, recording the volume and pH after each addition until you are within 1 mL of the equivalence point.  After that, add base 1 drop at a time, again recording volume and pH after each addition until you have passed the pink endpoint by a few tenths of a mL.  Add five more 1 mL aliquots beyond the pink endpoint.  Record the exact volume at which the pink color is observed.

- Construct a graph of pH vs Vb (volume of added base). Locate the equivalence volume (Ve) as the maximum point/slope from your first derivative plot or the point of zero second derivative from your second derivative plot as you did in experiment 2.  Compare these endpoints with the theoretical and phenolphthalein end points.

Calculations:

- Construct a Gran plot (graph of Vb10-pH vs. Vb) by using the data collected in the region of 0.9 Ve and Ve.  Draw a line through the linear portion of this curve and extrapolate it to the abscissa to find Ve.  Use this value of Ve in the calculations below.  Compare this value with those found with phenolphthalein and the graphs of step 8 above.

- Compute the slope of the Gran plot and use the following equation

Vb⋅10−pH=γHAγA−Ka(Ve−Vb)

to determine the Ka of KHP as follows:  The slope of the Gran plot = -KaHP-/P2-. In this equation P2- is the phthalate anion (as indicated in the reaction above) while HP- is the monohydrogen phthalate.  Because the ionic strength changes slightly as the titration proceeds, so also do the activity coefficients. Calculate the ionic strength at 0.95Ve and use this “average” ionic strength to find the activity coefficient.

- You can consider the OH- and H+ concentrations to be negligible, so the only ions whose concentrations you must consider in the calculation of ionic strength are [K+], [Na+], [HP-] and [P2-].  Recall that the ionic strength is calculated as

 = ½ Cizi2

- In determining the activity coefficients of HP- and P2-, you can assume a hydrated radius of 6 for both of these ions.

- From the measured slope of the Gran plot and the values of HP- and P2-, calculate pKa.  Then choose an experimental point near 1/3Ve and one near 2/3 Ve. Calculate the pKa at each of these points using the Henderson Hasselback equation:

pH=pKa+logA−γA−HAγHA

In this equation, A- is the base (P2-) and the HA is the acidic form (HP-).

- You will need to calculate [P2-], [HP-], HP- and P2- at each point.  Calculate the average pKa values from your experiment.

- You are to carry out propagation of error analysis throughout your measurements, finally reporting the absolute uncertainty in your final answer.